Cranking current 1000A lasting for less than 10 s

Inrush current 2000A lasting less than 1 s

Continuous load current 150 A demand after the engine starts

Max cranking current cut-off

Lowest battery voltage Input cut off

- 100 % DC = Continuous

- 60 % DC = 18 s ON, 12 s OFF

- 30 % DC =   9 s ON,    21 s OFF

- 25% DC = 7.5 s ON, 22.5 s OFF

=

A 120mm2 welding cable can only handle 830A for 9s

30% of a 30 second duty cycle means that the cable draws cranking current for 9 seconds and then cools for 21 seconds before another attempt.